Macro writing in Fiji (ImageJ)

Preamble:

Automated segmentation protocols can be performed on tomograms using macros. A macro is a protocol of ImageJ commands that are to be completed on an image dataset. The user can write a series of commands in the ImageJ macro language and these commands will be automatically applied to the dataset. Therefore, a simple program is made that automates a protocol of ImageJ commands.

Writing:

- The macro writing window is found under Plugins>Macros>Edit.

- The easiest way to write a macro is using the command recorder. The recorder is found under Plugins>Macros>Record. This function writes any command you perform on a dataset in the ImageJ macro language.

- This command can then be copied from the recorder into the edit window.

- Furthermore, in the editor, a ‘//’ can be used to hide a command without deleting it or to write instructions that are not in the ImageJ macro language.

- By manually performing a set of commands on a dataset, the optimal series of commands to process the dataset can be saved as a macro (.ijm file).

- Then, clicking ‘Run’ on the edit window, the commands will be automatically carried out on the dataset that is open.

- Including an opening command to select the dataset to be processed at the start of the macro means that the tomogram does not need to be opened before the macro is run.

- This means that the same series of ImageJ commands (e.g. filters or analyze commands such as the 3D-objects counter) will be carried out on each tomogram that the macro is run on. This is important because it means that each tomogram is processed the same way. Therefore, the outputs of the macro for each tomogram can be accurately compared.

- For tomograms, if a command cannot be carried out in 3D (so the command only acts on one slice of the tomogram), a loop can be used to automatically perform the command individually on every slice of the tomogram. This works by using writing ‘z=nSlices; for (i=0; i>z; i++ ) { ‘COMMAND’ }’, where ‘COMMAND’ is the series of commands that must be used on slices one at a time.

- Finally, dialogue boxes can be used to make the macro more streamlined. Some ImageJ commands require parameters to be input, such as changing the intensity of a filter. All the parameters for the commands can be changed by replacing the parameter with an input from a dialogue box put in place at the start of the macro. For example, to create a dialogue box type:

- Dialog.create("Choose parameters");

- Then a parameter for a filter can be listed with a default number  (in this example the default is 2):

- Dialog.addNumber("Radius for Closing Filter (pixels):", 2);

- Checkboxes can also be added with a default ticked (‘true’) or unticked (‘false’) with: Dialog.addCheckbox("Fill holes on the annotation?", false);

- Once all the parameters that can be changed are listed, the inputs are listed with a ‘nickname’, in our example:

- // Get dialog inputs

- radiusValue = Dialog.getNumber();

- runFillholes = Dialog.getCheckbox();’

- Then, when these commands occur in the macro, ‘radiusValue’ is written in place of the number. Therefore, the number typed in the dialogue box for the raduisValue will be input into the command. For the checkbox, an ‘if’ command is used:

- ‘if (runFillholes == true) {

run("Fill Holes", "stack");}